SWEETWATER UNION HIGH SCHOOL DISTRICT

DIVISION OF ADULT EDUCATION

Career Technical Education

### BUILDING MAINTENANCE AND REPAIR LEVEL II

### COURSE APPROVAL

Mission:  The Division of Adult Education, a community-focused organization, promotes and facilitates life-long learning for adults to meet the challenges of the 21st century.

Student Learning Outcomes

- Students will establish personal, academic and/or workforce goals and demonstrate progress toward them

- Students will solve problems

- Students will communicate clearly and collaborate with others

- Students will use resources, including technology, to research, organize and communicate information

##### Course approved by the Sweetwater Board of Trustees

July 23, 2012

##### Course Revision:

May 12, 2014

December 12, 2016

### BUILDING MAINTENANCE AND REPAIR LEVEL II

# Basic Course Information

| Course Title: | Building Maintenance and Repair Level II |
| --- | --- |
| CTE Industry Sector: | Building Trades and Construction |
| Career Pathway: | Residential and Commercial Construction |

| Course Level: |  | Introductory | x | Concentration | x | Capstone |
| --- | --- | --- | --- | --- | --- | --- |

| Course Number: | 2629 |
| --- | --- |
| CBEDS Title: | Residential & Commercial Construction |
| CBEDS Number: | 5502 |

| Course Hours: | 360 Hours |
| --- | --- |
| Prerequisites: | Complete Building Maintenance Level I |
| Evaluation: | 1. Satisfactory completion of oral and written examinations. 2. Instructor observation and assessment of student proficiency in assigned tasks, use of tools, and competency skill levels to met or exceed trade standards. 3. Satisfactory attendance and participation in class activities to meet or exceed trade standards, as evaluated by the instructor. |
| Conditions for Repetition: | Students who have failed to meet the objectives because of insufficient attendance or inability to master content may repeat the course. |
| Articulation Information: |  |
| Articulation Credit: |  |
| High School elective Credit: | Upon successful completion of the course, a student may earn up to six (6) units of high school elective credit. |
| Advisory Committee Meetings: | Annually |

Course Description

Students will learn how to troubleshoot more advanced and complex issues as they complete real world construction and repair projects. Students gain an in depth understanding of carpentry, plumbing, electrical work. They will expand their basic understanding of blueprint reading by including geometric basis, linear measurement, angular measurements, standard abbreviations and symbols, two-dimensional views and floor plans. Students will engage in leadership activities throughout their CTE pathway. These leadership outcomes will be based on the Standards for Career Ready Practice (SCRP) listed in each instructional unit. Leadership categories include Personal Growth and Professional Responsibility, Growing Leaders, and Community Outreach. Students will gather evidence of leadership outcomes to put in a portfolio project with will be completed at the end of the pathway. Students have opportunity to present their portfolios in academic classrooms to peers and teachers, as part of annual school events (Workforce of the Future event, Industry Advisory, etc.). A selection of portfolio projects will also be posted on the Sweetwater Adult CTE website: http://adultcte.weebly.com/

Instructional Strategies

Instructor presentations and demonstrations 10% Group participation 10% Student studying prior to application of skills………………………….10% Student application of skills (hands-on) 65% Evaluation 5%

Instructional Materials

Textbooks: RCA: Facilities Maintenance, 2nd Edition and Workbook for Standiford’s RCA: Facilities Maintenance, 2nd Edition

Career Plan:  How this Course fits into the Course Sequence

| Sequence of Courses | Course Level | Primary Funding Source | Perkins Funded | Total Duration |
| --- | --- | --- | --- | --- |
| Name of Course | Intro. | Concentration | Capstone | District/COE | ROCP | Yes or No | (In hours) |
| Residential Construction Academy (RCA) – Building Maintenance I |  |  |  |  |  | Yes | 324 |
| Building Maintenance II |  |  |  |  |  | Yes | 324 |
| Student can choose from the following groups: |
| OSHA Safety |  |  |  |  |  | Yes | 40 |
| Green Construction |  |  |  |  |  | Yes | 72 |
| Floor Covering Installer - Wood Floors Level I |  |  |  |  |  | Yes | 108 |
| Floor Covering Installer - Wood Floors Level II |  |  |  |  |  | Yes | 108 |
| Floor Covering Installer – Carpet Level I |  |  |  |  |  | Yes | 108 |
| Floor Covering Installer – Carpet Level II |  |  |  |  |  | Yes | 108 |
| Floor Covering Installer – Tile Level I |  |  |  |  |  | Yes | 108 |
| Floor Covering Installer – Tile Level II |  |  |  |  |  | Yes | 108 |
| Building Maintenance-Roofer |  |  |  |  |  | Yes | 72 |

Occupations for Identified Pathway

| Pathway occupations organized by level of education and training required for workplace entry. (Asterisked occupations require certification or licensure.) |
| --- |
| Postsecondary Training (certification and/or AA degree) | College University (bachelor’s degree or higher) |
| Entry-Level Service Tech Contractor Sales Construction Supervisor Sales Manager Technical Positions | • Engineer Instructor Construction Management Building Inspector |

# Course Goals

Review and demonstrate knowledge of the background of the Building Trades and Construction Industry as well as the qualifications of successful building maintenance workers.

Review and demonstrate the attitudes and skills necessary to use in organizing, troubleshooting, and problem solving on different sites.

Review and demonstrate the correct application of safety rules.

Understand and demonstrate knowledge of the uses and functions of various new tools, and equipment.

Review and demonstrate an understanding of practical electrical theory.

Demonstrate competencies in electrical facilities maintenance.

Pursue the mastery of more technical skills in carpentry using class and district projects.

Demonstrate skills in application of surface treatments

Review and apply additional new skills in plumbing and understanding of basic HVAC.

Review and demonstrate a further understanding of basic math for facilities maintenance technicians.

Expand and demonstrate the ability to read blueprints for facility maintenance technicians.

Apply learning experiences and demonstrate basic skills which will prepare student with job-entry level skills including employability skills particularly in energy sufficient areas.

Demonstrate mastery of skills competencies that will be validated in community work sites through on-the-job training, job exploration, work experience, field trips and/or permanent employment. Compile evidence for portfolio project.

# Instructional Module/Unit

| Unit 1 | Introduction | Class Hrs. | 5 | Lab Hrs. |  |
| --- | --- | --- | --- | --- | --- |

Description:

Students review level I building maintenance theory and practice and learn class expectations for level II. They are introduced to the common traits exhibited by people successfully working in this field, personal qualifications, interests, aptitudes, and knowledge of skills necessary to succeed in this career pathway. Students examine the historical and economic background of this field as well as current opportunities available. In addition students will examine the personal, professional, and educational requirements needed to meet their goals.

Unit 1 Competency: Upon Completion of this course, the student is able to:

1. Identify the personal qualifications, interests, aptitudes, knowledge and skills of successful building maintenance workers.

2. Demonstrate an understanding of personal, professional, and educational requirements of this career field.

Anchor: 2.1-2.6, 3.1-3.9, 4.2, 5.1-5.4, 6.1, 6.7, 7.2-7.4, 7.7, 8.1, 8.2, 11.5, Pathway: D1.1, D1.2, D1.3, Academic: LS 11-12.6, RLST 11-12.2, WS 11-12.4,

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 2 | Methods of Organizing, Troubleshooting, and Problem Solving | Class Hrs. | 5 | Lab Hrs. | 15 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will be challenged to troubleshoot more advanced and complex issues. They will expand their abilities to establish priority of work tasks, assign tasks, and carry out work order systems. This enables students to apply a more comprehensive approach.

Unit 2 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate the ability to prioritize work tasks.

2. Demonstrate the ability to assign tasks.

3. Demonstrate the ability to develop and carry out work order systems.

4. Use the steps outlined in the text to properly troubleshoot a more advanced and complex technical issue and apply a more comprehensive approach to problem-solving.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 3 | Safety | Class Hrs. | 5 | Lab Hrs. | 15 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will review and further develop the basic skills necessary to select, maintain, and safely use new equipment, tools, and materials and perform correct procedures related to Building Maintenance Repairs. Review of the following will be conducted. Purpose of OSHA (Includes a basic understanding of its concept that will include an OSHA certification class) First Aid/introduction to CPR Environmental Protection Agency (EPA), specifically covering basic Lead and Asbestos issues. Safe Methods for Lifting and Moving Materials & Equipment to Prevent Personal Injury & Property Damage Procedures to Prevent and Respond to Fires and Other Hazards Prevent a Fire from Starting in Your home Procedure to Prevent Uncontrolled Chemical Reactions.

Unit 3 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate and understanding of the purpose of OSHA and be prepared to pursue acquisition of an OSHA Safety Certificate .

2. Demonstrate an understanding of the safety guidelines and rules for general workplace safety in diversified environments.

3. Demonstrate an understanding of the safety guidelines and current rules for working with and around an electrical power tool and circuits.

4. Create and demonstrate an understanding of a basic fall protection plan.

5. Demonstrate an understanding of how to work safely with ladders, extension ladders and basic scaffolds.

6. Demonstrate the ability to correctly identify and select the proper fire extinguisher for a particular application. ( i.e. chemical, gas, electrical and plastics).

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 4 | Chemicals, adhesives, solvents, fasteners, and tools | Class Hrs. | 5 | Lab Hrs. | 21 |
| --- | --- | --- | --- | --- | --- |

Description

Students will be introduced to and learn about the appropriate use of chemicals, adhesives, fasteners and current equipment for specific projects. In the industry there are many types of tools and supplies available for handling many of the problems that may occur. Applicators, Hand Tools Cleansers Portable and stationary tools Students will also learn there are times when using certain applicators and tools are not the appropriate method for repair, but other more effective equipment and tools may be necessary. Students will learn to use a variety of chemicals, solvents, and adhesives in a safe and effective manner.

Unit 4 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate an understanding of the safe use of tools, including power tools used by facilities maintenance technicians.

2. Demonstrate an understanding of the proper chemicals, fasteners, and adhesives necessary for a specific project.

3. Demonstrate the ability to select, and install the proper fasteners, and adhesives necessary for a specific project.

4. Demonstrate the ability to select and properly use the appropriate hand tool(s) for a specific project.

5. Demonstrate the ability to select and properly use the appropriate power or stationary tool(s) for a specific project.

PRACTICUM: Skill Saw- Learn and employ proper use of the skill saw, measuring tape, and combination squares in a project designed to teach and reinforce framing skill.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 5 | Practical Electrical Theory | Class Hrs. | 5 | Lab Hrs. | 30 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will review level I and expand their basic knowledge and understanding of practical electrical theory in level II.

Unit 5 Competency: Upon Completion of this course, the student will be able to:

1. Better understand and demonstrate the ability to apply the principles of basic electricity.

2. Perform rough and finish electrical exercises (i.e. three and four-way switches, switched duplex receptacles, double pole switches controlling 240 volt receptacles).

3. Review and demonstrate an understanding of the properties of common electrical wires used by facilities maintenance technicians and also how to correctly measure wire size and load-carrying capacity.

4. Demonstrate the operation and functions of emergency circuits.

5. Demonstrate different types of emergency backup electrical power systems and how to operate them.) Included are Inverters, Batteries, motors and their relationship and utilization with Solar Energy Systems.

6. Demonstrate the ability to use various types of electrical meters to measure electricity.

7. Understand the basics of Solar Energy, to include PV Panels, Inverters, batteries and motors.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 6 | Electrical Facilities Maintenance | Class Hrs. | 5 | Lab Hrs. | 27 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will review and apply the concepts of safety and the basic procedures for troubleshooting and repairing basic electrical circuits and devices. Students will enhance their knowledge and abilities to perform the following new activities: Practical Electrical Theory Safety, tools, and test equipment Electrical conductors, and transformers Electrical devices, fixtures, and equipment Circuit protection devices, and schematic drawings Contemporary electrical switches and receptacles Electrical maintenance procedures on various appliances. Perform tests Replace detectors, devices, fixtures, and canned lighting Test and replace fuses Ceiling fans and thermostats L Basic Solar Energy project(s)

Unit 6 Competency: Upon Completion of this course, the student will be able to:

1. Understand and apply OSHA regulations that cover electrical installations.

2. Demonstrate the difference between AC and DC.

3. Demonstrate the ability to correctly identify single-phase and three-phase electrical systems.

4. Demonstrate the ability to correctly identify and select the boxes most commonly used in electrical installations.

5. Demonstrate the ability to correctly identify and select different types of electrical cables, devices and fixtures.

6. Demonstrate the different types of emergency backup systems.

7. Demonstrate an enhanced ability to their systematic, diagnostic, and troubleshooting practices.

8. Demonstrate the ability to perform tests on smoke alarms, fire alarms, medical alert systems, and emergency exit lighting.

9. Perform tests using various voltage meters.

10. Repair and/or replace common electrical devices such as circuit breakers, receptacles and switches.

11. Repair and/or replace lighting fixtures, fans, and/or bulbs, and ballasts.

Practice Project: Hands on assembly and installation of a small solar powered water fountain.

PRACTICUM: Electrical Wiring- Construct an 8’x8’ wall unit wired with power panel box, 240 volt outlet, GFCI receptacle, 3 way switch with light, exterior light, exterior receptacle.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 7 | Carpentry | Class Hrs. | 5 | Lab Hrs. | 48 |
| --- | --- | --- | --- | --- | --- |

Description:

| Students will review, expand and apply their knowledge on how to maintain the integrity of the facility, to include performing minor construction and/or repairs using skills and techniques such as: Use of wider assortment of tools Green building concepts and materials Correctly Identify and Select Engineered Products, Panels, and Sheet Goods Framing Components, other school projects Plan, measure, draw and estimate how to construct a storage shed Plan, layout and participate on a shed building crew Remodel the plumbing training site Repair and rehang an exterior/interior door Repair and reinstall a window with appropriate weather protection system |
| --- |
| Unit 7 Competency: Upon Completion of this course, the student is able to: |
| 1. Demonstrate the ability to distinguish general properties of materials used by facilities maintenance technicians. |
| 2. Demonstrate the ability to identify the effects of moisture content on different wood products as described in green buildings. |
| 3. Perform estimating and take-off quantities for simple one-step carpentry projects. |
| 4. Correctly identify and select engineered green products, panels, and sheet goods. |
| 5. Perform interior/exterior carpentry maintenance. |
| 6. Perform basic Solar Energy systems maintenance. |
| Practice Project: Lab Hrs. Will be working on repairing/building a storage shed and/or a solar project. |
| PRACTICUM: Saw Horse- Plan, draw, measure, cut, and assemble parts of a saw horse. Finished project will be used in subsequent practicum assignments. |
| PRACTICUM: Cabinet/Vanity- Plan, draw, estimate, select, cut, machine, construct, and finish materials to create kitchen cabinet/bathroom vanity. |
| PRACTICUM: Outdoor Movable BBQ/Bar- plan, draw, estimate, select, cut, machine, construct, and finish cabinetry, and create and install tile tops. |
| Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8 |
| Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project. |
| Unit 8 | Surface Treatments | Class Hrs. | 5 | Lab Hrs. | 15 |

Description:

Students will review and learn new approaches and utilize new equipment to identify and select proper surface finishes. They will also learn how to select proper finishing tools for different types of finishes such as: Fixing Drywall Problems/angle ceiling installation etc. Painting as a Surface Treatment Identify and Select Proper Tools Prepare the Surface for Painting Painting the Ceiling/ rollers, spray guns Painting the Walls Types of Paint Primers Faux Finishes/ sponge, cloths etc. Cleaning and Storing Equipment and Supplies Wall Coverings as a Surface Treatment Basic Categories of Wall Coverings Determining the Type and Amount of Wall Coverings Applying Wallpaper Texture as a Surface Treatment (including basic stucco repairs etc.)

Unit 8 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate the ability to prepare surface and site properly for finishing, including sanding, caulking, and covering exposed surfaces.

2. Apply paint using roller and brush according to manufacturer and job specifications.

3. Clean and store paint materials including brushes, rollers, thinners, and spray guns according to manufacturer’s specifications and OSHA regulations.

Practice Project: Basic stucco installation exercise.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 9 | Plumbing | Class Hrs. | 5 | Lab Hrs. | 33 |
| --- | --- | --- | --- | --- | --- |
| Description: |
| Students will review level I exercises. They will also learn new processes and techniques of installation of hot water heaters, solar powered hot water heaters and the following list of activities. This will also include innovative green activities such as the listed practice projects. Students will review and learn the following: Plumbing Safety Uses of new Plumbing Tools Introduction to boiler heating systems and how they operate Measuring and Cutting pipes with various schematics Unclogging Pipes Caulking Assembling Pipes Using PVC Cement Soldering a Copper Fitting onto a Piece of Copper Pipe National and Local Plumbing Codes Adjusting the Temperature of a Water Heater Basic Water Heater Replacements Plumbing Leaks and corrections Basic assembly of P/V solar unit for H20 fountain |
| Unit 9 Competency: Upon Completion of this course, the student is able to: |
| 1. Correctly measure and cut copper tubing. |
| 2. Fabricate plastic pipe with correct fittings to correct dimensions as required for job without any leaks. |
| 3. Assemble compression fittings without any leaks. |
| 4. Clean and replace traps, drains, and vents including the use of sink snake or rod to clean drain lines. |
| 5. Caulk and seal fixtures according to manufacturer’s specifications. |
| 6. Fabricate and solder copper pipe with correct fittings as required for job without any leaks. |
| 7. Test and set hot water temperature according to manufacturer’s specifications. |
| 8. Follow and apply all national and local building codes. |
| 9. Locate and repair leaks in pipes and fixtures. |
| 10. Install shower seals. |
| 11. Repair, replace, and/or rebuild plumbing fixtures and connections to job specifications without any leaks. |
| Practice Project: Install Water Heater Hrs. 10 Assemble solar project Hrs. 10 |
| PRACTICUM: Plumbing- Using 8’x8’ wall unit, students will cut, solder, and install metal plumbing material, and measure, cut, and glue PVC. |
| Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8 |
| Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project. |

| Unit 10 | Math for Facilities Maintenance Technicians | Class Hrs. | 5 | Lab Hrs. | 25 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will learn and expand their knowledge on how to state the difference between: Material estimating proper reading of measuring tapes and other measuring devices correct usage of framing squares (particularly when laying out rafter exercises) correct usage of transients and levels Whole Numbers Decimals Fractions Percent and Percentages Areas and Volumes Combined Operation

Unit 10 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate the ability to add more complex whole and Real numbers and Fractions.

2. Demonstrate the ability to Subtract more complex whole and Real numbers and Fractions.

3. Demonstrate the ability to multiply more complex whole and Real numbers and Fractions.

4. Demonstrate the ability to divide more complex whole and Real numbers and Fractions.

5. Demonstrate the ability to solve more complex problems involving multiple operations and whole numbers.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 11 | Blueprint Reading for Facility Maintenance Technicians | Class Hrs. | 5 | Lab Hrs. | 30 |
| --- | --- | --- | --- | --- | --- |

Description:

Students will review and expand their basic understanding of blueprint reading by learning: Geometric basics Linear Measurement The Architect’s Scale Angular Measurements Standard Abbreviations and Symbols Two-Dimensional Views Floor Plan

Unit 11 Competency: Upon Completion of this course, the student will gain a comprehensive understanding for practical application:

1. Demonstrate the ability to identify the various views of an orthographic drawing.

2. Demonstrate the ability to identify the various symbols and schematics used on plumbing plans to represent piping types, fittings, and items on a plumbing plan.

3. Demonstrate the ability to identify the various symbols used on HVAC plans to represent HVAC line types, ducts, and equipment.

4. Demonstrate the ability to identify the various symbols used on electrical plans and schematics to represent wiring, switches, fixtures, and so on.

5. Demonstrate the ability to understand standard abbreviations and symbols used on blueprints.

6. Demonstrate the ability to determine the length of objects presented on a blueprint using an architect’s scale and/or tape measure.

7. Demonstrate the ability to determine the angle of a line on a blueprint using a protractor.

8. Demonstrate the ability to understand standard abbreviations and symbols used on a blueprint.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP5-Identify and demonstrate selecting the correct tool for a job and the ability to safely use equipment, machines, and tools. Troubleshoot potential problems prior to projects and come up with alternate strategies to successfully complete a project. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 12 | Job Career Planning | Class Hrs. | 8 | Lab Hrs. | 10 |
| --- | --- | --- | --- | --- | --- |

Description:

Students create a sample cover letter, personal resume, completed job application, thank you letter, and list of personal references. They develop their personal career portfolio that contains documents for getting a job as well as a career plan and selected work samples. Students practice appropriate interviewing techniques. Students will gain insight into the various fields of employment open to those with building maintenance and repair skills through speakers and workers in the respective fields.

Unit 12 Competency: Upon Completion of this course, the student is able to:

1. Demonstrate the ability to write a cover letter.

2. Demonstrate the ability to complete a job application.

3. Demonstrate the ability to write a resume.

4. Demonstrate successful job interview skills.

5. Successfully assemble a personal career portfolio.

6.Demonstrate general employability skills and concepts interwoven throughout the course including interpersonal relationships, work ethics, and job search skills; also know licensing and certification required in the industry

Practice Project: Computer Lab Hrs. (TBD) Alt. Field trip to work site

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Unit 13 | Work-Based Learning Experiences | Class Hrs. | 8 | Lab Hrs. | 20 |
| --- | --- | --- | --- | --- | --- |

Description

1. Students will be taught the work based expectations of punctuality, and professionalism. Students will engage in discussions with the instructor regarding workplace experiences and the day-to-day aspects of running a small business. 2. Learning activities will be conducted in class rooms, laboratories or shops and supervised community worksites. A portion of the skills training may be conducted at a supervised community worksite as work experience, job exploration, on-the-job training or in a registered apprenticeship program.

Unit 13 Competency: Upon Completion of this course, the student is able to:

1. .Demonstrate the ability to work successfully in the Building Trades & Construction Industry.

2. Demonstrate the ability to “go to work” with a proper attitude towards the work place expectations of punctuality, and professionalism.

3. Demonstrate skill mastery which may be observed and graded during classroom training assignments or at community worksites under real job conditions as on-the-job training or work experience.

Anchor: 2.1-2.6, 5.1, 5.4, 6.1-6.12, 7.1-7.5, 7.6, 7.7, 7.8, 8.1, 8.2, 8.3, 8.4, 8.5, 8.7, 9.1-9.4, 9.6, 9.7, 10.1-10.5, 11.1-11.5, Pathway: D1.2, D1.3, D2.1, D2.3, D2.4, D2.5, D2.6, D2.7, D2.8, D2.9, D3.1-D3.7, D4.1, D5.4, D5.5, D5.7, Academic: LS 11-12.6, RSIT 11-12.2, RHSS 11-12.7, RLST 11-12.2, RLST 11-12.3-12.7, WS11-12.5, WHSST11-12.4, 11-12.6, 11-12.10N-Q1SEP4, SEP5, SEP8

Standards for Career Ready Practice (SCRP) SCRP1-Apply appropriate technical skills and academic knowledge to successfully complete this unit’s coursework. SCRP2-Collect work samples and self-assessment to include in portfolio. SCRP3-Student will develop and implement SMART goal related to unit. SCRP7- Student will act responsibly in the classroom by following classroom rules, showing up on time, being prepared, and being an effective member of a team. SCRP8 – Maintain weekly schedule and manage time to meet coursework and project.

| Totals | Theory Hrs. | 71 | Lab Hrs. | 253 | Total Hrs. | 324 |
| --- | --- | --- | --- | --- | --- | --- |

APPENDIX A:

MATRIX FOR ALL ASPECTS OF THE INDUSTRY

All Aspects of the Industry is a key element of the Carl D. Perkins Vocational and Applied Technology Education Act and the School-to Work Opportunities Act.  Both acts emphasize giving students a comprehensive perspective and range of skills across an industry.  The Perkins Act requires programs to “provide students with strong experience in and understanding of all aspects of the industry students are preparing to enter”.  The Act identifies eight aspects in particular, which are common to any business or industry. Programs receiving Perkins funds are required to include the teaching of these concepts to provide students with the skills necessary to be successful in their employment.

STRATEGIES

Below is a matrix showing the components of “All Aspects of the Industry for the name of Course.”  A list of strategies is provided for each component.

| ASPECTS | SEQUENCE OF COURSES |
| --- | --- |
|  | Course 1: Building Maintenance & Repair |
| Planning | Students are required to design, plan and build various projects. It is reinforced that proper planning at any level (industry and firm) saves time, materials, and increases efficiency. |
| Management | In the class, students learn that in a school system, there is a management system similar to the industry management system. Students are reminded that decisions made by upper level management impact them. . |
| Finance | Students in the shop are constantly reminded that proper planning, proper use of tools and equipment, and maintenance are cost-saving measures that free up capital. |
| Technical & Production Skills | Hands-on projects provide trade specific production techniques. Student-teacher interaction allows for different methods of production. |
| Underlying Principles Of Technology | Students work with projects that integrate math, scientific and economic principles related to the industry. |
| Labor Issues | Students are constantly reminded of what the responsibilities of the worker on the job has; i.e.: cooperation, punctuality, responsibility, ethical behavior, etc. |
| Community Issues | In this program, various projects are built by the students (i.e.: remodeled classrooms, cabinets, sheds) at a considerable savings to the community and California taxpayers while providing quality workers to the community. |
| Health, Safety, & Environmental Issues | Students demonstrate safe work habits in class, understand and use equipment designed to protect one’s health (dust masks, ear plugs, safety glasses). Proper planning eliminates waste of materials and helps the environment. Proper handling and disposal of hazardous materials are introduced. |